AMERISTAR FENCE PRODUCTS®

IMPASSE II(TM))™ - High Security Palisade Fence– Steel Ornamental Palisade Fence

Construction Specification - SECTION 32 31 19

PART 1 - GENERAL

- 1.01 WORK INCLUDED

The contractor shall provide all labor, materials, and appurtenances necessary for the installation of the steel corrugated pale security fence system defined herein at (specify project site).

- 1.02 RELATED WORK

Section ___ ___ - Earthwork

Section ___ ___ - Concrete

- 1.03 SYSTEM DESCRIPTION

The manufacturer shall supply a total steel ornamental pale high-security fence system of the Ameristar® Impasse II® design (specify Trident™, Stronghold™, or Gauntlet™). The system shall include all required components (i.e., pales, rails, posts, gates, and hardware).

- 1.04 QUALITY ASSURANCE

The contractor shall provide laborers and supervisors who are thoroughly familiar with the type of construction involved and the specified materials and techniques.

- 1.05 REFERENCES

ASTM A653/A653M – Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy Coated (Galvannealed) by the Hot-Dip Process

ASTM B117 – Practice for Operating Salt-Spray (Fog) Apparatus

ASTM D523 – Test Method for Specular Gloss

ASTM D714 – Test Method for Evaluating Degree of Blistering in Paint

ASTM D1654 – Test Method for Evaluation of Painted or Coated Specimens Subjected to Corrosive Environments

ASTM D2244 – Test Method for Calculation of Color Differences from Instrumentally Measured Color Coordinates

ASTM D2794 – Test Method for Resistance of Organic Coatings to the Effects of Rapid Deformation (Impact)

ASTM D3359 – Test Method for Measuring Adhesion by Tape Test

ASTM D6695 – Standard Practice for Xenon-Arc Exposures of Paint and Related Coatings

ASTM F2408 – Ornamental Fences Employing Galvanized Steel Tubular Pickets

ASTM F2781 – Standard Practice for Testing Forced Entry, Ballistic and Low Impact Resistance of Security Fence Systems

ASTM F2814 – Standard Guide for Design and Construction of Ornamental Steel Picket Fence Systems for Security Purposes

IEEE P80/D10 Draft Guide for Safety in AC Substation Grounding

IEEE 142-1991 IEEE Recommended Practice for Grounding of Industrial and Commercial Power Systems

IEEE 81-2012 IEEE Guide for Measuring Earth Resistivity, Ground Impedance, and Earth Surface Potentials for Ground System

- 1.06 SUBMITTAL

- The manufacturer's submittal package shall be provided prior to installation.

- 1.07 PRODUCT HANDLING AND STORAGE

- Upon receipt at the job site, all materials shall be checked to ensure that no damage occurred during shipping or handling. Materials shall be stored in such a manner as to ensure proper ventilation and drainage, and to protect against damage, weather, vandalism, and theft.

- 1.08 PRODUCT WARRANTY

- All structural fence components (i.e., rails, pickets, and posts) shall be warranted within specified limitations by the manufacturer for a period of 15 years from the date of original purchase. Warranty shall cover any defects in material finish, including cracking, peeling, chipping, blistering, or corroding.

- Reimbursement for the necessary labor to restore or replace components found defective under the manufacturer's warranty shall be guaranteed for five (5) years from the date of original purchase.

- 1.09 PRODUCT TESTING & COMPLIANCE

Fence system shall be tested by a third-party professional engineer to IEEE P80/D10, IEEE 142-1991, and IEEE 81 2012. A test report shall be supplied showing that the fence system meets the acceptable range for resistance and impedance required by the IEEE standards listed herein.

PART 2 - MATERIALS

- 2.01 MANUFACTURER

- The steel ornamental pale high security fence system shall conform to Ameristar Impasse II (specify Trident, Stronghold or Gauntlet) (specify 2-Rail or 3-Rail) style manufactured by Ameristar Perimeter Security USA Inc. in Tulsa, Oklahoma.

  - MATERIAL

- Steel material for fence framework (i.e., corrugated pales, rails, and posts), when galvanized prior to forming, shall conform to the requirements of ASTM A924/A924M, with a minimum yield strength of 45,000 psi (310 MPa). The steel shall be hot-dip galvanized to meet the requirements of ASTM A653/A653M with a minimum zinc coating weight of 0.90 oz/ft2 (276 g/m2), Coating Designation G-90.

- Material for corrugated pales shall be a nominal 2.75" x .75" x 14 Ga. The cross-sectional shape of the rails shall conform to the manufacturer's Impasse II rail design, a nominal 2" x 2" x 11 Ga. Pale spacing will be determined by Pre-drilled holes on the rail, achieving airspaces not greater than 3.25" for the Standard and 1.375" for the Anti-Scale options. Tamperproof grounding fasteners shall be used to fasten each pale to the rail at every intersection as well as the rail to the I-Beam. Posts shall conform to the manufacturer's Impasse II I-Beam design with a nominal 3" x 2.75" x 12 Ga. for fence panel heights up to & including 8’ height and/or Impasse II I-Beam design with a nominal 4" x 2.75" x 11 Ga. for fence heights greater than 8’ up to 10’ panel height. Fence posts and gate posts shall meet the minimum size requirements of Table 1.

- If applicable - Material for steel Impasse II privacy screening shall be 18ga. preformed slats, providing complete screening coverage between pales and at pale-to-post connections. Impasse II privacy screening shall provide screening from top rail to bottom rail and be capable of traversing terrain without impeding the raking capabilities of the fencing panel.

2.03 FABRICATION

- Pales, rails, and posts shall be pre-cut to specified lengths. Impasse II rails shall be pre-punched to accept tamperproof security fasteners. Post flange shall be pre-punched to accept rail-to-post attachment. Post web shall be punched, providing a clear opening for the interior of rails to align throughout the entire system for affixing conduit, video cabling, IDS wiring, and other components for complete systems integration. Impasse II rails shall be attached to the post flange, providing a bracket-less design at each intermediate post.

- The manufactured galvanized framework shall be subjected to the PermaCoat® thermal stratification coating process (high-temperature, in-line, multi-stage, multi-layer) including, as a minimum, a six-stage pretreatment/wash, an electrostatic spray application of an epoxy base and a separate electrostatic spray application of a polyester finish. The base coat shall be a thermosetting epoxy powder coating (gray in color) with a minimum thickness of 2 mils (0.0508mm). The topcoat shall be a “no-mar” TGIC polyester powder coat finish with a minimum thickness of 2 mils (0.0508mm). The color shall be (specify Black, Bronze, White or Desert Sand). The stratification-coated framework shall meet the performance requirements for each quality characteristic listed in Table 2.

- Completed panels shall be capable of supporting a 400 lb. load (applied at midspan) without permanent deformation. Panels shall be biasable to a 30˚ change in grade.

- Swing gates shall be fabricated using 2" sq. x 12ga rail, 2" sq. x 12ga. gate ends, and 2.75" x .75" x 0.075 pales. Gates exceeding 6' in width will have a 2" sq. x 11 ga. intermediate upright. All rail and upright intersections shall be joined by welding. All pale and rail intersections shall also be joined by welding. For pedestrian security swing gates required to comply with IBC egress requirements, refer to the Exodus® Pedestrian Gate Systems.

- Sliding cantilever gates shall be Transport Traverse® IS design matching the style, height, and color of the fence system. Gate frame uprights and diagonal bracing shall be prefabricated and pre-punched to accept frame fasteners. Enclosed track shall be pre-punched to accept gate uprights. Pales shall be precut to the specified length and predrilled to accept pale-to-track fasteners. Posts shall be precut to specified lengths. Top and bottom enclosed track extrusions shall be mechanically fastened to vertical gate uprights and intermediate supports, as required by assembly instructions. Diagonal bracing shall be mechanically fastened to vertical gate uprights and intermediate supports, as required by assembly instructions. Pales shall be mechanically fastened to the top and bottom enclosed track, as required by the assembly instructions. Gate installation shall comply with the latest ASTM F2200 standards for automated gates, regardless of whether the gate is manually operated.

- The system shall be designed to minimize system impedance in compliance with IEEE requirements. No additional grounding material beyond the installation of the structure to the ground lug and the I-Beam grounding cap will be required to achieve lowered system impedance levels.

PART 3 - EXECUTION

3.01 PREPARATION

All new installations shall be laid out by the contractor in accordance with the construction plans.

3.02 FENCE INSTALLATION

Fence posts shall be set according to Table 3, plus or minus ¼". Post size and length will be determined by Wind Load calculations in accordance with the latest version of ASCE/SEI 7.

For installations that must be raked to follow sloping grades, the post spacing dimension must be measured along the grade.

Inside or outside corner posts shall be set as shown in Figure 1. For the Gauntlet style, additional kits shall be provided to avoid pinch points in security.

Posts shall be set in concrete footers; the size shall be engineered and calculated based on site conditions such as wind load, soil, opacity levels, freezing weather, etc.

Fence rails shall be attached to the post using the tamper-resistant fasteners provided by the manufacturer. Attachment to corner posts shall be made with brackets (see the product catalog for the full bracket offering) and the fasteners supplied by the manufacturer.

Pales shall be attached to rails by using the tamper-resistant fasteners provided by the manufacturer.

Posts set by other methods, such as plated posts, are permissible only if shown by engineering analysis to be sufficient in strength for the intended application.

The "Earthwork" and "Concrete" sections of this specification shall govern material requirements for the concrete footer.

3.03 FENCE MAINTENANCE

When cutting/drilling rails or posts, adhere to the SALES POLICY by following the steps to seal the exposed steel surfaces:

- Remove all metal shavings from the cut area.

- Apply zinc-rich primer to thoroughly cover the cut edge and/or drilled hole; let it dry.

- Apply 2 coats of the custom finish paint matching the fence color.

Failure to seal exposed surfaces per steps 1-3 above will negate warranty. Ameristar spray cans or paint pens shall be used to prime and finish exposed surfaces; paint pens are recommended to prevent overspray. The use of non-Ameristar parts or components will void the manufacturer's warranty.

3.04 GATE INSTALLATION

Gate posts shall be spaced according to the manufacturer's gate drawings, depending on the standard out-to-out gate leaf dimensions and the selected gate hardware. Type and quantity of gate hinges shall be based on the application, weight, height, and number of gate cycles. The manufacturer's gate drawings shall identify the necessary gate hardware required for the application. Gate hardware shall be provided by the gate manufacturer and installed in accordance with the manufacturer’s recommendations.

3.05 CLEANING

The contractor shall clean the jobsite of excess materials; post hole excavations shall be scattered uniformly away from posts.

| TABLE 1 – MINIMUM SIZES FOR IMPASSE II® POSTS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FENCE POSTS (NOMINAL) |  | PANEL HEIGHT |  |  |  |
| 3” x 2.75” x 12 Ga. I-Beam |  | Up to & Including 8’ Height* |  |  |  |
| 4” x 2.75” x 11 Ga. I-Beam |  | Over 8’ Height up to & including 10’ Height(1)(2) |  |  |  |
| (1) Ultimately, the post size, level, and length shall be determined by wind load calculations. (2) All Impasse II® systems with privacy slats must use 4” I-beams as a starting point. Reinforced posts might be required based on wind load calculations. |  |  |  |  |  |
| GATE LEAF | GATE HEIGHT |  |  |  |  |
|  | Up to & Including 6’ |  | Over 6’to 8’ | Over 8’ to 10’ | Over 10’ |
| Up to 4’ | 3” x 12Ga. |  | 3” x 12 Ga. | 4” x 11 Ga. | 4” x 11 Ga. |
| 4’1” to 6’ | 3” x 12Ga. |  | 3” x 12 Ga. | 4” x 11 Ga. | 4” x 11 Ga. |
| 6’1” to 8’ | 4” x 11 Ga. |  | 6” x 3/16” | 6” x 3/16” | 6” x 3/16” |
| 8’1” to 10’ | 4” x 11 Ga. |  | 6” x 3/16” | 6” x 3/16” | 6” x 3/16” |
| 10’1” to 12’ | 6” x 3/16” |  | 6” x 3/16” | 6” x 3/16” | 8” x 1/4" |
| 12’1” to 16’ | 6” x 3/16” |  | 6” x 3/16” | 8” x 1/4” | 8” x 1/4" |
| Note 1: For gates constructed with panic and kick tubes or plates, it is recommended to move up to the next post size. Note 2: For gates larger than those in the table, refer to the High Security Swing Gates Systems offering. |  |  |  |  |  |

| TABLE 2 – COATING PERFORMANCE REQUIREMENTS |  |  |  |  |
| --- | --- | --- | --- | --- |
| QUALITY CHARACTERISTICS | ASTM TEST METHOD |  | PERFORMANCE REQUIREMENTS |  |
| ADHESION | D3359 – Method B |  | Adhesion (Retention of Coating) over 90% of the test area (Tape and knife test). |  |
| CORROSION RESISTANCE | B117, D714 & D1654 |  | Corrosion Resistance over 3,500 hours (Scribed per D1654; failure mode is accumulation of 1/8” coating loss from scribe or medium #8 blisters). |  |
| IMPACT RESISTANCE | D2794 |  | Impact Resistance over 60 inch lb. (Forward impact using 0.625” ball). |  |
| WEATHERING RESISTANCE | D822, D2244, D523 (60˚ Method) |  | Weathering Resistance over 1,000 hours (Failure mode is 60% loss of gloss or color variance of more than 3 delta-E color units). |  |
| TABLE 3 – IMPASSE II® POST SPACING |  |  |  |  |  |
| Span |  | 8’ Nominal (95” Rail) |  |  |  |
| Post Size |  | 3” x 2.75” x 12 Ga. I-Beam |  | 4” x 2.75” x 11 Ga. I-Beam |  |
|  |  | Line & End Posts |  |  |  |
| Post Settings ± ¼” O.C.(3) |  | 96” |  | 96” |  |

(3) For inside and outside Corner Posts, see Figure 1

FIGURE 1 – INSIDE AND OUTSIDE CORNER POST SETTING